## Slide 1: IOT102 PROJECT
Topic 1 - Automatic fire alarm system
use heat, smoke and gas sensors
Nguyen Tuan Anh
SE150633
Nguyen Tran Phong
SE150974
Vo Van Thanh Phuc
SE150980

## Slide 2: CONCLUSION & DEVELOPMENT DIRECTIONS DESIGN & IMPLEMENTATION INTRODUCTION 01 02 CONTENTS 03
DEMONSTRATION
04

## Slide 3: 1. INTRODUCTION
5000 fire incidients nation-wide
Annual Report of Vietnam’s Police Department of Fire Prevention and Fighting and Rescue in 2020
Civilian-related
75
casualties
Chart: 
| Electrical Malfunctions | Misuse of Heat and Fuel sources | Other
Percent | 0.6 | 0.25 | 0.15
Electrical Malfunctions
60%
Misuse of Heat and Fuel sources
25%

## Slide 4: 1. INTRODUCTION
Scalability
Simplicity
Cost-efficiency
Effectiveness

## Slide 5: 1. INTRODUCTION
Environments where fire is least expected to combust
Fire Sensors
Heat Sensors
Gas Source
Gas Sensors
A fire is detected within the specified range
Temperature increased exceeded the designated value
Gas concentration exceeds the safe recommended value of 1000ppm
ALARM
TRIGGER
Built-in RESET Button on the Arduino
Deactivating the Power Supply
DISABLE
ALARM

## Slide 6: 2. DESIGN & IMPLEMENTATION
Wiring connectivity

## Slide 7: 2. DESIGN & IMPLEMENTATION
Household implementation

## Slide 8: 2. DESIGN & IMPLEMENTATION

## Slide 9: 3. CONCLUSION & DEVELOPMENT DIRECTIONS
The system worked as intended.
Flame detected within an acceptable distance.
Preempt most situations, which can, at times, lead to false alarms.
Gas leakage detection is dependent on external factors such as winds and humidity. Requires further calibrations.
Alarm bell is dependent on the main power source to operate, no backup power due to time limitation. Requires further subsidiary.
The fire sensor does not cover a comparatively wide angle.

## Slide 10: 3. CONCLUSION & DEVELOPMENT DIRECTIONS
Expected cost is reasonably afforable.
The system is relatively simple to implement in a practical setting.
Can be further improved via the usage of more advanced and precise measument modules.

## Slide 11: 3. CONCLUSION & DEVELOPMENT DIRECTIONS
Simplicity is prioritised. User can manually disable the system.
Must cover most scenarios, considerate of false alarms.
Integrable despite hardware changes.
REQUIREMENT ANALYSIS

## Slide 12: 3. CONCLUSION & DEVELOPMENT DIRECTIONS
DECISION FLOWCHART
System started
Continuously measure the environment
Gas
detected
Temperature
exceeds
threshold
Fire detected
Alarm is activated
User
disables
alarm
User
disables
alarm
System terminated
Yes
Yes
Yes
No

## Slide 13: 3. CONCLUSION & DEVELOPMENT DIRECTIONS
PSUEDO CODE
Lcd.start();
defaultTempThreshold = read(potentiometed);
While(systemNotTerminated) { // begin While
    Lcd.display(defaultTempThreshold);
    currentGas = read(gasSensor);
    currentTemp = read(heatSensor);
    currentFire = read(fireSensor);
    Lcd.display(currentTemp);
If(currentGas == true) {
Alarm();
}
else if (currentTemp >= defaultTempThreshold)
{
Alarm();
}
else if (currentFire == true) {
Alarm();
}
} // End While